Technical Conditions

Statement of accomplishment of the technical requirements

Seismometer; 1 piece

- Specification of device:

Passive 3-component seismometer

- Device is up to following technical requirements:

| Producer/ Manufacturer | fill supplier |
| --- | --- |
| Model - type/product name | fill supplier |

| Minimal technical requirement | Requirement fulfilled YES / NO* |
| --- | --- |
| Three directional passive seismometer | fill supplier |
| Natural frequency 1Hz | fill supplier |
| Minimum sensitivity 270 V/m/s | fill supplier |
| Coil resistance <6000 ohm | fill supplier |
| Shunt resistor value <15 000 ohm | fill supplier |
| Humbuck construction of signal coils | fill supplier |
| Calibration coil | fill supplier |
| Operating temperature -20 to 50°C | fill supplier |
| Waterproof case | fill supplier |
| Sensor pigtail cable 10 ft | fill supplier |

* Supplier shall fill YES / NO

Additional requirements:

Contracting authority requests delivery of new, unused or unrepaired devices.

Corporate name of Supplier:

Person entitled to act on behalf of Supplier:

Address of Contractor

Date:

Signature: