## 1a – Specifications and conditi
Public contract: “Master Agreement – NGS Sequencing of Plant Genomes”
Annex No. 1a – Specifications and conditions of performance
The subject of performance is the provision of technology platform services, consisting of next generation sequencing (NGS) of DNA/RNA libraries on Illumina instruments, quality control of sequencing, libraries and DNA/RNA. The Contracting Authority (Client) will order the type and scope of the above services according to its actual needs. A library means a sequencing library compatible with the Illumina sequencing platform, i.e. DNA fragments equipped with specific sequences necessary for sequencing on the Illumina platform. The preparation of libraries for other services may be provided directly by the Contracting Authority. The performance includes activities and costs related to the provision of the required services, expert consultations in the design of experiments, as well as all related performance under the terms of the Master Agreement.
The subject of the sequencing will be samples, i.e. sequencing libraries prepared by the Contracting Authority/Provider in eppendorf microtubes and their subsequent pooling and sequencing to the required coverage.
Type of performance (service) |  | Period of performance starts from the moment of delivery of materials (samples) for the implementation of the performance to the Provider's premises
Sequencing | Low-coverage genome skimming/re-sequencing (6 Gb/sample) for simple genomes using 20M Illumina PE150 sequencing on Novaseq6000 or comparable sequencing instruments | 30 business days
| Low-coverage genome skimming/re-sequencing (5 Gb/sample) for complex genomes using 10M Illumina PE250 sequencing on Novaseq6000 or comparable sequencing instruments | 30 business days
| Mid-coverage genome re-sequencing (30 Gb/sample) using 100 M Illumina PE150 sequencing on Novaseq6000 or comparable sequencing instruments | 30 business days
| High-coverage genome sequencing (90 Gb/sample) using 300 M Illumina PE150 sequencing on Novaseq6000 or comparable sequencing instruments | 30 business days
| RNA-Seq (15 Gb/sample) after poly-A selection using 50M Illumina PE150 sequencing on Novaseq6000 or comparable sequencing instruments | 30 business days
| Oxford Nanopore sequencing (100 Gb/sample) using PromethION instrument | 30 business days
| PacBio HiFi sequencing (1 flowcell) on the PacBio Sequel II System for 1 sample | 30 business days
| PacBio HiFi sequencing (1 flowcell) on the PacBio Sequel II System for 2 samples | 30 business days
General conditions and requirements
Sequencing | a) Plant genomes of 150-3200 Mbp will be sequenced.
b) The Client requires sample QC and library preparation service unless otherwise specified (e.g. premade libraries).
c) The Client requires output data from the sequencing should at least meet the standard declared by the manufacturer for the respective type of sequencing (e.g. for Illumina PE150 sequencing, Q30>=85%; for Illumina PE250 sequencing Q30>=75%).
d) The Client requires demultiplexing of individual libraries (if applicable) and quality control (e.g. FastQC/MultiQC) before delivery of the results or sequencing output in *fastq.gz and other formats (e.g. *bam). For Nanopore sequencing, the Client may also require fast5 format data for genome methylation calling.
e) The Client requires the sequencing results to be retained by the Provider for a minimum of 12 weeks from the delivery of the results.
f) The results of the sequencing will be made available to the Client electronically. The Client requires the Provider to provide the Client with remote access to its repository or database of results by sending a performance report including a service performance protocol. The Provider may also choose to deliver the data by hard drive transfer.
g) The Client requires the samples (libraries) to be kept with the Provider for the duration of the Master Agreement, with the possibility of their release to the Client upon request.
h) The Client requires the samples (libraries) to be kept with the Provider in such a way as to prevent their degradation (e.g. deep-freezer or dry ice).
i) The Provider is obliged to confirm the order by the second business day to the contact e-mail address of the Client specified in the sub-order.

## 1b – Sample basket
Public contract: “Master Agreement – NGS Sequencing of Plant Genomes”
Annex No. 1b – Sample service basket
Pricing provisions
Type of service – Subject of performance |  | Unit price (in CZK, excl. VAT) NOTE no. 1
Sequencing | Low-coverage genome skimming/re-sequencing (6 Gb/sample) for simple genomes using 20M Illumina PE150 sequencing on Novaseq6000 or comparable sequencing instruments
Low-coverage genome skimming/re-sequencing (5 Gb/sample) for complex genomes using 10M Illumina PE250 sequencing on Novaseq6000 or comparable sequencing instruments
Mid-coverage genome re-sequencing (30 Gb/sample) using 100 M Illumina PE150 sequencing on Novaseq6000 or comparable sequencing instruments
High-coverage genome sequencing (90 Gb/sample) using 300 M Illumina PE150 sequencing on Novaseq6000 or comparable sequencing instruments
RNA-Seq (15 Gb/sample) after poly-A selection using 50M Illumina PE150 sequencing on Novaseq6000 or comparable sequencing instruments
Oxford Nanopore sequencing (100 Gb/sample) using PromethION instrument
PacBio HiFi sequencing (1 flowcell) on the PacBio Sequel II System for 1 sample
PacBio HiFi sequencing (1 flowcell) on the PacBio Sequel II System for 2 samples
Total price |  |  | 0
Note no. 1 | The unit price is the price for one requested response according to the specification of the type of service (subject of performance) for the specified unit (at X GB/sample or Y samples/flowcell). The Provider expressly confirms that in the case of a different quantity within one requested response, the price increase/decrease per quantity will be linear