## technical specification
„University-wide Reservation System“ Appendix B – Technical Specifications and Technical Conditions
Product name
To be filled in by the Supplier
General specification
The objective of this tender is to acquire a general booking system that is sufficiently modular to accommodate the needs of various workplaces across Masaryk University (MUNI). The system must support a calendar-based interface for reserving rooms, scientific equipment, and other shared resources. It must also enable the definition of complex service-provision workflows with configurable steps. The requested booking system must include functionality for project evaluation and administration, provide seamless monitoring of reservations and service requests, and offer automated analysis of service costs and invoicing.
Required technical and functional specifications (The Supplier's offer must meet all the parameters listed below) | Minimal requirement | Supplier´s offer (Supplier indicates meeting all the technical and functional requirements; shall be evidenced unambiguously and plausibly, e.g. by providing technical sheets and drawings of the manufacturer.)
The system must be a web-based reservation system accessible from standard PC and smartphone browsers without any additional software installation. | yes | To be filled in by the Supplier
The system must operate primarily in English. | yes | To be filled in by the Supplier
The system must allow secure user authentication through MUNI AAI infrastructure, AAI federations supporting academic SSO (eduID.cz, eduGAIN, ORCID), and external identity providers such as Google and LinkedIn. | yes | To be filled in by the Supplier
The system must connect to MUNI AAI for authentication and must support retrieval of user data from ISEP/iNET (=internal information systém of Masaryk University). | yes | To be filled in by the Supplier
The system must support configurable user registration validity so that each user must periodically re-confirm their account. | yes | To be filled in by the Supplier
The system must not require external licensed components that would generate additional operational costs for the contracting authority. | yes | To be filled in by the Supplier
The system must allow inclusion of Czech public holidays in reservation rules and calendar displays. | yes | To be filled in by the Supplier
The system must support reservations of equipment using a calendar or planning board with visible differentiation of working days, weekends, and public holidays. | yes | To be filled in by the Supplier
The system must allow reservations of specific physical units such as cages, shelves, parking spaces, or classroom seats, including visual representation other than a simple time calendar (e.g., map, plan, interactive image). | yes | To be filled in by the Supplier
The system must support possibility of reservation of multiple instruments at once. | yes | To be filled in by the Supplier
The system must support service requests through a form-based ticketing system which allows configuration of checkboxes, text fields, lists, and other standard form elements. | yes | To be filled in by the Supplier
The system must allow workplace employees to plan equipment time for service execution directly through the planning calendar. | yes | To be filled in by the Supplier
The system must allow sending calendar invites in .ics format to users for confirmed reservations, compatible with at least MS Outlook and Google Calendar. | yes | To be filled in by the Supplier
The system must allow storing and managing records of external partners and institutions by linking VAT ID or other institution identifiers, including downloading basic data (ID, VAT, address). | yes | To be filled in by the Supplier
The system must expose at least Equipment, Services, and Reservation data (such as reservation date and time, instrument, user details, equipment details including the hour rates, project details and ID, service title, service state, and ID) through an API that allows external systems and analytical tools to retrieve data. | yes | To be filled in by the Supplier
The supplier must ensure integration with the future MUNI economic information system within 3–5 years of contract signing. | yes | To be filled in by the Supplier
The supplier must provide technical training for MUNI Institute of Computer Sciences administrators to allow local technical management of the system. | yes | To be filled in by the Supplier
The system must support multiple Workplace Networks within a single installation, and data must not be shared between different Workplace Networks. | yes | To be filled in by the Supplier
The system must support one or more Workplaces within a Workplace Network. | yes | To be filled in by the Supplier
The system must support a shared database of users and projects inside each Workplace Network. | yes | To be filled in by the Supplier
The system must allow internal notifications to be displayed to users after login, at the level of the Workplace or Workplace Network. | yes | To be filled in by the Supplier
The system must support creation, approval, and financial management of Projects that serve as financial frameworks for reservations and service requests. | yes | To be filled in by the Supplier
The system must only allow reservation or service requests if the user selects a valid Project with available budget or credit. | yes | To be filled in by the Supplier
The system must allow assignment of users and PIs to Projects, including configuration of project limits (financial, quantity, time, hours). | yes | To be filled in by the Supplier
The system must allow Projects to have defined life-cycle phases, milestones, deadlines, and email notifications. | yes | To be filled in by the Supplier
The system must allow the assignment of a responsible person under each task/phase/milestone of the Project. | yes | To be filled in by the Supplier
The system must allow uploading files to projects and must record upload date and author. | yes | To be filled in by the Supplier
The system must support Project budgets with or without permission to exceed limits. | yes | To be filled in by the Supplier
The system must support Project credit which is consumed during billing and carries forward unused balance into the next billing period. | yes | To be filled in by the Supplier
The system must maintain and display current remaining credit and its expiration date. | yes | To be filled in by the Supplier
The system must store user Identity data including name, email, employer/institution, project memberships, certifications, and active student status. | yes | To be filled in by the Supplier
The system must allow definition of Services with assigned administrators, price lists, workflow parameters, and linked equipment. | yes | To be filled in by the Supplier
The system must provide visibility of service parameters including availability, pricing rules, description, documentation and uploaded files. | yes | To be filled in by the Supplier
The system must allow definition of Equipment with detailed parameters such as location, working hours, reservation duration rules, cancellation rules, and pricing categories. | yes | To be filled in by the Supplier
The system must allow blocking equipment reservations in case of malfunction or service shutdown. | yes | To be filled in by the Supplier
The system must allow creation of reservation quotas such as maximum hours per user or per project, and different quotas outside working hours. | yes | To be filled in by the Supplier
The system must support notifications that inform users of newly released or free time slots and allow automatic shortening or extension of overlapping reservations, without charging penalties to the original user when time is reused. | yes | To be filled in by the Supplier
The system must allow uploading of manuals, SOPs, or instructions directly to equipment records. | yes | To be filled in by the Supplier
The system must support multiple price categories for equipment, services, and materials/consumables, with up to at least six price levels. | yes | To be filled in by the Supplier
The system must support different pricing for working hours, non-working hours, weekends and public holidays. | yes | To be filled in by the Supplier
The system must allow bulk price import for equipment, services, and materials through a file upload. | yes | To be filled in by the Supplier
The system must allow bulk import for different entities, such as equipment, services, projects and materials through a file upload. | yes | To be filled in by the Supplier
The system must allow manual price entry and manual pricing of individual requests. | yes | To be filled in by the Supplier
The system must allow defining price structure using direct cost, overhead, and profit with automatic or formula-based calculation. | yes | To be filled in by the Supplier
The system must support pricing in CZK, EUR, including exchange-rate conversion and currency-specific offers. It can be possible to fix the exchange rate for a certain period or to use the current exchange rate from the MUNI economic and information system (EIS). | yes | To be filled in by the Supplier
The system must provide an option to display or hide prices for workplaces that operate without charging. | yes | To be filled in by the Supplier
The system must allow issuing a price quotation for a user, including date, unique reference number, selected services or equipment, quantity, discounts, and currency. | yes | To be filled in by the Supplier
The system must allow creation of price quotations for non-registered potential customers and later link them to a registered user and Project. | yes | To be filled in by the Supplier
The system must allow creation of Equipment reservations by users, including start/end time, project selection, and optional recurring reservations. There is possibility to add more details, such as "comments" or "private comments". | yes | To be filled in by the Supplier
The system must allow cancellation or modification of reservations based on equipment-specific cancellation rules and must calculate penalties when appropriate. | yes | To be filled in by the Supplier
The system must allow creating Service Requests including required service information, optional documents, consumables selection, and additional notes. | yes | To be filled in by the Supplier
The system must allow sending service requests to the workplace for approval and allow responses such as approval, rejection, request for completion, or a modified proposal. | yes | To be filled in by the Supplier
The system must support service workflows including evaluation, implementation, delivery of results, approval of results, billing readiness, payment status, and archiving. | yes | To be filled in by the Supplier
The system must support internal and external communication within every request through built-in chat, with file uploads. | yes | To be filled in by the Supplier
The system must support internal, staff-only chat that is hidden from users. | yes | To be filled in by the Supplier
The system must allow copying equipment reservations or service requests to simplify repeated submissions. | yes | To be filled in by the Supplier
The system must allow recurring reservations on weekly, monthly or custom intervals. | yes | To be filled in by the Supplier
The system must allow certification of users for specific equipment and enforce certification restrictions before allowing reservations. | yes | To be filled in by the Supplier
The system must allow definition of certification validity periods and priority rights for certified users. | yes | To be filled in by the Supplier
The system must support billing based on completed services or completed equipment reservations including cancellation fees. | yes | To be filled in by the Supplier
The system must allow automatic billing initiation on a periodic schedule and manual billing initiation by authorized staff. | yes | To be filled in by the Supplier
The system must generate billing statements that can be reviewed, corrected, approved and exported. | yes | To be filled in by the Supplier
The billing statement must include prices, discounts, currency, projects, users, units, totals and cost breakdown. | yes | To be filled in by the Supplier
The system must allow the Workplace Leader to waive a fee or apply additional discounts with justification. | yes | To be filled in by the Supplier
The system must prevent double billing of requests that were already invoiced. | yes | To be filled in by the Supplier
The system must be able to generate invoice requests for internal and external parties, depending on integration with EIS. | yes | To be filled in by the Supplier
The system must record payment status either automatically via EIS or manually by the administrator. | yes | To be filled in by the Supplier
The system must allow generating usage statistics per project, workplace, service, equipment, user and time period. | yes | To be filled in by the Supplier
Statistical reports must be visible in the system interface and exportable at least in CSV. | yes | To be filled in by the Supplier
Report data must be filterable directly in the graphical interface. | yes | To be filled in by the Supplier
Export fields must be configurable to support equipment logbooks including user, institution, project, date, time and student status. | yes | To be filled in by the Supplier
The system must produce an invoice request after billing statement approval, including cost breakdown and funding sources, and attach order numbers. | yes | To be filled in by the Supplier
The system must record invoice numbers and payment documents in the reservation system. | yes | To be filled in by the Supplier
The system must record project completion based on exhausted budget, end of validity or end of measurement. | yes | To be filled in by the Supplier
The system must allow manual assignment of roles including User, Project Guarantor, Staff, Workplace Leader, Workplace Network Manager, Workplace Network Admin, and Evaluator. | yes | To be filled in by the Supplier
The system must permit creation and modification of workplaces, assignment of staff, and editing of workplace display parameters such as calendars, colors, names and visibility. | yes | To be filled in by the Supplier
The system must allow setting templates for project request forms and service request forms, including approval workflows. | yes | To be filled in by the Supplier
The system must comply with GDPR and ensure secure storage and transmission of user and project data. | yes | To be filled in by the Supplier
The "reservation" entity must comply with GDPR (entering measured subject private info into reservation - comments or hidden/private comments due to measurement of human subjects in medicine). | yes | To be filled in by the Supplier
The system must support full action logging for auditing purposes for workplace admin. | yes | To be filled in by the Supplier
The system must allow complete export of configuration, reservations, project data, billing, credit, prices, and logs in open formats such as CSV, XLSX, JSON or XML. | yes | To be filled in by the Supplier
The system must support all minimal workflows described in the Attachment “Minimal Required Workflows”. The Supplier will submit a separate file with point-by-point description how the proposed solution complies with individual workflows described in Attachment. | yes | To be filled in by the Supplier
Implemetation due date - 1st of September 2026 | yes | To be filled in by the Supplier
SLA - Electronic request logging available 24/7, Issue – response time: 48 hours, maximum resolution time: 10 days, Comment – response time: 72 hours, maximum resolution time: as agreed, Inquiry – response time: 72 hours, maximum resolution time: 5 days. Reporting: ▪ The Customer may monitor the progress and status of requests via the web interface. Full communication can be maintained for each request. ▪ The Customer is notified of all changes to individual requests through the system’s notification mechanism. Error analysis – performing analysis of system error states and providing fixes for demonstrable system errors. | yes | To be filled in by the Supplier
System developement - please enter hourly rate for custimization | yes | To be filled in by the Supplier